# WaveCrest Quality Management System

## Policy Document

Policy Code: WQMS-OPS-FMP-065-2025

Policy Title: Facility Management Policy

## Version Control

| Version: | 1.0 |
| --- | --- |
| Date Issued: | August 2025 |
| Next Review Date: | August 2026 |
| Approved By: | ___________________ |

## 1. Purpose

The purpose of this policy is to ensure company facilities are managed effectively, providing safe, secure, and functional environments that support organizational operations.

## 2. Scope

This policy applies to all physical facilities owned, leased, or occupied by the company, including offices, warehouses, workshops, and field sites.

## 3. Definitions

- Facility: Any building, workspace, or area used for company operations.
- Facility Management: The coordination of services, maintenance, and space utilization to ensure effective operation of company facilities.
- Preventive Maintenance: Scheduled activities to prevent breakdowns and ensure facility longevity.
- Emergency Response: Procedures for managing facility-related incidents.

## 4. Policy Statements

1. All facilities must be safe, secure, and fit for purpose.
2. Facilities must comply with occupational health, safety, and environmental regulations.
3. Preventive maintenance schedules must be developed and implemented.
4. Facility access must be controlled and limited to authorized persons.
5. Energy, water, and waste management practices must promote sustainability.
6. Emergency response plans must be developed and tested for each facility.
7. Facility upgrades or modifications must follow approval processes.
8. Contractors providing facility services must comply with company standards.
9. Regular inspections must be conducted and documented.
10. Facility-related incidents must be reported, investigated, and resolved.

## 5. Procedures

- Planning: Develop facility management plans for each location.
- Maintenance: Schedule preventive maintenance and handle repairs.
- Security: Implement access control, surveillance, and visitor management.
- Emergency Preparedness: Develop evacuation plans and conduct drills.
- Sustainability: Monitor and improve energy and water use efficiency.
- Reporting: Record facility inspections, incidents, and corrective actions.

## 6. Responsibilities

- Employees: Use facilities responsibly and report issues.
- Facility Managers: Oversee daily operations, maintenance, and compliance.
- Security Teams: Ensure facility access control and safety.
- Health & Safety Teams: Ensure compliance with OHS requirements.
- Senior Leadership: Approve major facility investments and ensure alignment with strategy.

## 7. Review & Amendments

This policy will be reviewed annually or after major facility upgrades or incidents.

WaveCrest Quality Management System – HRTest © 2025
Policy Code: WQMS-OPS-FMP-065-2025